Analyte should match item from list on 2.b Definitions
Pick wheter this sample is actual, blank corrected, calculated, control adjusted, or estimated
## 1. Lab Results
date_time_sampled	date_analysed	sample_id	site_ID	latitude	longitude	analyte	analyte_speciation	method	unit_of_measurement	value_type	matrix	detection_limit	values	notes	water_hub_qa_qc	Type	BC Guidelines
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Nitrate	as N		mg/L	actual	water	0.01	<0.010	The sample was prepared and/or analyzed past the recommended holding time.		Nutrients	3
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Nitrite	as N		mg/L	actual	water	0.01	<0.010	The sample was prepared and/or analyzed past the recommended holding time.		Nutrients	0.02
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Phosphate	ortho-, dissolved (as P)		mg/L	actual	water	0.01	<0.0100	The sample was prepared and/or analyzed past the recommended holding time.		Nutrients	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Hardness	Total (as CaCO3), from Total Ca/Mg		mg/L	calculated	water	0.5	35.7				N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Nitrate+Nitrite	as N		mg/L	calculated	water	0.01	<0.0100			Nutrients	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Nitrogen	Total		mg/L	calculated	water	0.05	<0.0500			Nutrients	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Alkalinity	Total (as CaCO3)		mg/L	actual	water	1	46.2				N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Alkalinity	Phenolphthalein (as CaCO3)		mg/L	actual	water	1	<1.0				N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Alkalinity	Bicarbonate (as CaCO3)		mg/L	actual	water	1	46.2				N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Alkalinity	Carbonate (as CaCO3)		mg/L	actual	water	1	<1.0				N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Alkalinity	Hydroxide (as CaCO3)		mg/L	actual	water	1	<1.0				N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Nitrogen	Total Kjeldahl		mg/L	actual	water	0.05	<0.050			Nutrients	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Phosphorus	Total		mg/L	actual	water	0.005	<0.0050			Nutrients	0.005
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Phosphorus	Total Dissolved		mg/L	actual	water	0.005	<0.0050			Nutrients	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Solids	Total Suspended		mg/L	actual	water	2	<2.0				N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Aluminum	Total		mg/L	actual	water	0.005	0.0096			Metals	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Antimony	Total		mg/L	actual	water	0.0002	<0.00020			Metals	0.009
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Arsenic	Total		mg/L	actual	water	0.0005	<0.00050			Metals	0.005
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Barium	Total		mg/L	actual	water	0.005	0.0127			Metals	1
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Beryllium	Total		mg/L	actual	water	0.0001	<0.00010			Metals	0.00013
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Bismuth	Total		mg/L	actual	water	0.0001	<0.00010			Metals	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Boron	Total		mg/L	actual	water	0.05	<0.0500			Metals	1.2
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Cadmium	Total		mg/L	actual	water	0.00001	<0.000010			Metals	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Calcium	Total		mg/L	actual	water	0.2	9.44			Metals	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Chromium	Total		mg/L	actual	water	0.0005	<0.00050			Metals	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Cobalt	Total		mg/L	actual	water	0.0001	<0.00010			Metals	0.004
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Copper	Total		mg/L	actual	water	0.0004	<0.00040			Metals	0.002
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Iron	Total		mg/L	actual	water	0.01	0.027			Metals	1
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Lead	Total		mg/L	actual	water	0.0002	<0.00020			Metals	0.003
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Lithium	Total		mg/L	actual	water	0.0001	0.00045			Metals	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Magnesium	Total		mg/L	actual	water	0.01	2.94			Metals	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Manganese	Total		mg/L	actual	water	0.0002	0.00233			Metals	0.61
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Molybdenum	Total		mg/L	actual	water	0.0001	0.00044			Metals	1
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Nickel	Total		mg/L	actual	water	0.0004	<0.00040			Metals	0.025
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Phosphorus	Total		mg/L	actual	water	0.05	<0.050			Metals	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Potassium	Total		mg/L	actual	water	0.1	0.47			Metals	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Selenium	Total		mg/L	actual	water	0.0005	<0.00050			Metals	0.001
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Silicon	Total		mg/L	actual	water	1	4.3			Metals	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Silver	Total		mg/L	actual	water	0.00005	<0.000050			Metals	0.00005
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Sodium	Total		mg/L	actual	water	0.1	1.9			Metals	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Strontium	Total		mg/L	actual	water	0.001	0.034			Metals	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Sulfur	Total		mg/L	actual	water	3	<3.0			Metals	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Tellurium	Total		mg/L	actual	water	0.0005	<0.00050			Metals	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Thallium	Total		mg/L	actual	water	0.00002	<0.000020			Metals	0.008
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Thorium	Total		mg/L	actual	water	0.0001	<0.00010			Metals	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Tin	Total		mg/L	actual	water	0.0002	<0.00020			Metals	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Titanium	Total		mg/L	actual	water	0.005	<0.0050			Metals	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Tungsten	Total		mg/L	actual	water	0.0002	<0.0002			Metals	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Uranium	Total		mg/L	actual	water	0.00002	0.000375			Metals	0.0085
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Vanadium	Total		mg/L	actual	water	0.005	<0.0050			Metals	N/A
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Zinc	Total		mg/L	actual	water	0.004	<0.0040			Metals	0.0075
05/09/2022 11:30:00	2022-09-13	GOA01	GOA01	49.0807	-116.051907	Zirconium	Total		mg/L	actual	water	0.0001	<0.00010			Metals	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Nitrate	as N		mg/L	actual	water	0.01	<0.010	The sample was prepared and/or analyzed past the recommended holding time.		Nutrients	3
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Nitrite	as N		mg/L	actual	water	0.01	<0.010	The sample was prepared and/or analyzed past the recommended holding time.		Nutrients	0.02
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Phosphate	ortho-, dissolved (as P)		mg/L	actual	water	0.01	<0.0100	The sample was prepared and/or analyzed past the recommended holding time.		Nutrients	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Hardness	Total (as CaCO3), from Total Ca/Mg		mg/L	calculated	water	0.5	33.3				N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Nitrate+Nitrite	as N		mg/L	calculated	water	0.01	<0.0100			Nutrients	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Nitrogen	Total		mg/L	calculated	water	0.05	<0.0500			Nutrients	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Alkalinity	Total (as CaCO3)		mg/L	actual	water	1	41.6				N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Alkalinity	Phenolphthalein (as CaCO3)		mg/L	actual	water	1	<1.0				N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Alkalinity	Bicarbonate (as CaCO3)		mg/L	actual	water	1	41.6				N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Alkalinity	Carbonate (as CaCO3)		mg/L	actual	water	1	<1.0				N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Alkalinity	Hydroxide (as CaCO3)		mg/L	actual	water	1	<1.0				N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Nitrogen	Total Kjeldahl		mg/L	actual	water	0.05	<0.050			Nutrients	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Phosphorus	Total		mg/L	actual	water	0.005	<0.0050			Nutrients	0.005
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Phosphorus	Total Dissolved		mg/L	actual	water	0.005	<0.0050			Nutrients	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Solids	Total Suspended		mg/L	actual	water	2	<2.0				N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Aluminum	Total		mg/L	actual	water	0.005	0.01			Metals	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Antimony	Total		mg/L	actual	water	0.0002	<0.00020			Metals	0.009
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Arsenic	Total		mg/L	actual	water	0.0005	<0.00050			Metals	0.005
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Barium	Total		mg/L	actual	water	0.005	0.0136			Metals	1
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Beryllium	Total		mg/L	actual	water	0.0001	<0.00010			Metals	0.00013
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Bismuth	Total		mg/L	actual	water	0.0001	<0.00010			Metals	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Boron	Total		mg/L	actual	water	0.05	<0.0500			Metals	1.2
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Cadmium	Total		mg/L	actual	water	0.00001	<0.000010			Metals	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Calcium	Total		mg/L	actual	water	0.2	8.61			Metals	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Chromium	Total		mg/L	actual	water	0.0005	<0.00050			Metals	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Cobalt	Total		mg/L	actual	water	0.0001	<0.00010			Metals	0.004
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Copper	Total		mg/L	actual	water	0.0004	<0.00040			Metals	0.002
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Iron	Total		mg/L	actual	water	0.01	<0.010			Metals	1
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Lead	Total		mg/L	actual	water	0.0002	<0.00020			Metals	0.003
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Lithium	Total		mg/L	actual	water	0.0001	0.00049			Metals	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Magnesium	Total		mg/L	actual	water	0.01	2.86			Metals	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Manganese	Total		mg/L	actual	water	0.0002	0.00054			Metals	0.61
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Molybdenum	Total		mg/L	actual	water	0.0001	0.00055			Metals	1
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Nickel	Total		mg/L	actual	water	0.0004	<0.00040			Metals	0.025
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Phosphorus	Total		mg/L	actual	water	0.05	<0.050			Metals	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Potassium	Total		mg/L	actual	water	0.1	0.37			Metals	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Selenium	Total		mg/L	actual	water	0.0005	<0.00050			Metals	0.001
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Silicon	Total		mg/L	actual	water	1	3.9			Metals	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Silver	Total		mg/L	actual	water	0.00005	<0.000050			Metals	0.00005
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Sodium	Total		mg/L	actual	water	0.1	1.31			Metals	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Strontium	Total		mg/L	actual	water	0.001	0.0318			Metals	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Sulfur	Total		mg/L	actual	water	3	<3.0			Metals	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Tellurium	Total		mg/L	actual	water	0.0005	<0.00050			Metals	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Thallium	Total		mg/L	actual	water	0.00002	<0.000020			Metals	0.008
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Thorium	Total		mg/L	actual	water	0.0001	<0.00010			Metals	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Tin	Total		mg/L	actual	water	0.0002	<0.00020			Metals	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Titanium	Total		mg/L	actual	water	0.005	<0.0050			Metals	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Tungsten	Total		mg/L	actual	water	0.0002	<0.0002			Metals	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Uranium	Total		mg/L	actual	water	0.00002	0.000375			Metals	0.0085
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Vanadium	Total		mg/L	actual	water	0.005	<0.0050			Metals	N/A
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Zinc	Total		mg/L	actual	water	0.004	<0.0040			Metals	0.0075
05/09/2022 14:30:00	2022-09-13	GOA02	GOA02	49.1917843	-116.3443565	Zirconium	Total		mg/L	actual	water	0.0001	<0.00010			Metals	N/A
05/09/2022 11:30:00	2022-09-13	G0A01 A	GOA01	49.0807	-116.051907	Alkalinity	Total (as CaCO3)		mg/L	actual	water	1	<1.0	field blank			N/A
05/09/2022 11:30:00	2022-09-13	G0A01 A	GOA01	49.0807	-116.051907	Alkalinity	Phenolphthalein (as CaCO3)		mg/L	actual	water	1	<1.0	field blank			N/A
05/09/2022 11:30:00	2022-09-13	G0A01 A	GOA01	49.0807	-116.051907	Alkalinity	Bicarbonate (as CaCO3)		mg/L	actual	water	1	<1.0	field blank			N/A
05/09/2022 11:30:00	2022-09-13	G0A01 A	GOA01	49.0807	-116.051907	Alkalinity	Carbonate (as CaCO3)		mg/L	actual	water	1	<1.0	field blank			N/A
05/09/2022 11:30:00	2022-09-13	G0A01 A	GOA01	49.0807	-116.051907	Alkalinity	Hydroxide (as CaCO3)		mg/L	actual	water	1	<1.0	field blank			N/A
05/09/2022 14:30:00	2022-09-13	GOA02 A	GOA02	49.1917843	-116.3443565	Alkalinity	Total (as CaCO3)		mg/L	actual	water	1	39.5	field duplicate			N/A
05/09/2022 14:30:00	2022-09-13	GOA02 A	GOA02	49.1917843	-116.3443565	Alkalinity	Phenolphthalein (as CaCO3)		mg/L	actual	water	1	<1.0	field duplicate			N/A
05/09/2022 14:30:00	2022-09-13	GOA02 A	GOA02	49.1917843	-116.3443565	Alkalinity	Bicarbonate (as CaCO3)		mg/L	actual	water	1	39.5	field duplicate			N/A
05/09/2022 14:30:00	2022-09-13	GOA02 A	GOA02	49.1917843	-116.3443565	Alkalinity	Carbonate (as CaCO3)		mg/L	actual	water	1	<1.0	field duplicate			N/A
05/09/2022 14:30:00	2022-09-13	GOA02 A	GOA02	49.1917843	-116.3443565	Alkalinity	Hydroxide (as CaCO3)		mg/L	actual	water	1	<1.0	field duplicate			N/A
02/10/2023 14:15:00	2023-10-09	GOA01	GOA01	49.0807	-116.051907	Nitrate	as N		mg/L	actual	water	0.01	<0.010	The sample was prepared and/or analyzed past the recommended holding time.		Nutrients	3
02/10/2023 14:15:00	2023-10-09	GOA01	GOA01	49.0807	-116.051907	Nitrite	as N		mg/L	actual	water	0.01	<0.010	The sample was prepared and/or analyzed past the recommended holding time.		Nutrients	0.02
02/10/2023 14:15:00	2023-10-09	GOA01	GOA01	49.0807	-116.051907	Phosphate	ortho-, dissolved (as P)		mg/L	actual	water	0.01	0.0085	The sample was prepared and/or analyzed past the recommended holding time.		Nutrients	N/A
02/10/2023 14:15:00		GOA01	GOA01	49.0807	-116.051907	Hardness	Total (as CaCO3), from Total Ca/Mg		mg/L	calculated	water	0.5	36.6				N/A
02/10/2023 14:15:00		GOA01	GOA01	49.0807	-116.051907	Nitrate+Nitrite	as N		mg/L	calculated	water	0.01	<0.0100			Nutrients	N/A
02/10/2023 14:15:00		GOA01	GOA01	49.0807	-116.051907	Nitrogen	Total		mg/L	calculated	water	0.05	<0.0500			Nutrients	N/A
02/10/2023 14:15:00	2023-10-11	GOA01	GOA01	49.0807	-116.051907	Alkalinity	Total (as CaCO3)		mg/L	actual	water	1	36.5				N/A
02/10/2023 14:15:00	2023-10-11	GOA01	GOA01	49.0807	-116.051907	Alkalinity	Phenolphthalein (as CaCO3)		mg/L	actual	water	1	<1.0				N/A
02/10/2023 14:15:00	2023-10-11	GOA01	GOA01	49.0807	-116.051907	Alkalinity	Bicarbonate (as CaCO3)		mg/L	actual	water	1	36.5				N/A
02/10/2023 14:15:00	2023-10-11	GOA01	GOA01	49.0807	-116.051907	Alkalinity	Carbonate (as CaCO3)		mg/L	actual	water	1	<1.0				N/A
02/10/2023 14:15:00	2023-10-11	GOA01	GOA01	49.0807	-116.051907	Alkalinity	Hydroxide (as CaCO3)		mg/L	actual	water	1	<1.0				N/A
02/10/2023 14:15:00	2023-10-14	GOA01	GOA01	49.0807	-116.051907	Nitrogen	Total Kjeldahl		mg/L	actual	water	0.05	<0.050			Nutrients	N/A
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Phosphorus	Total		mg/L	actual	water	0.005	<0.0050			Nutrients	0.005
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Phosphorus	Total Dissolved		mg/L	actual	water	0.005	<0.0050			Nutrients	N/A
02/10/2023 14:15:00	2023-10-14	GOA01	GOA01	49.0807	-116.051907	Solids	Total Suspended		mg/L	actual	water		<10.0				N/A
02/10/2023 14:15:00	2023-10-02	GOA01	GOA01	49.0807	-116.051907	Aluminum	Total		mg/L	actual	water	0.005	<0.0050			Metals	N/A
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Antimony	Total		mg/L	actual	water	0.0002	<0.00020			Metals	0.009
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Arsenic	Total		mg/L	actual	water	0.0005	<0.00050			Metals	0.005
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Barium	Total		mg/L	actual	water	0.005	0.0118			Metals	1
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Beryllium	Total		mg/L	actual	water	0.0001	<0.00010			Metals	0.00013
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Bismuth	Total		mg/L	actual	water	0.0001	<0.00010			Metals	N/A
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Boron	Total		mg/L	actual	water	0.05	<0.0500			Metals	1.2
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Cadmium	Total		mg/L	actual	water	0.00001	<0.000010			Metals	N/A
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Calcium	Total		mg/L	actual	water	0.2	9.66			Metals	N/A
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Chromium	Total		mg/L	actual	water	0.0005	<0.00050			Metals	N/A
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Cobalt	Total		mg/L	actual	water	0.0001	<0.00010			Metals	0.004
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Copper	Total		mg/L	actual	water	0.0004	<0.00040			Metals	0.002
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Iron	Total		mg/L	actual	water	0.01	0.021			Metals	1
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Lead	Total		mg/L	actual	water	0.0002	<0.00020			Metals	0.003
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Lithium	Total		mg/L	actual	water	0.0001	0.00037			Metals	N/A
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Magnesium	Total		mg/L	actual	water	0.01	3.02			Metals	N/A
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Manganese	Total		mg/L	actual	water	0.0002	0.00151			Metals	0.61
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Molybdenum	Total		mg/L	actual	water	0.0001	0.00047			Metals	1
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Nickel	Total		mg/L	actual	water	0.0004	<0.00040			Metals	0.025
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Phosphorus	Total		mg/L	actual	water	0.05	<0.050			Metals	N/A
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Potassium	Total		mg/L	actual	water	0.1	0.46			Metals	N/A
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Selenium	Total		mg/L	actual	water	0.0005	<0.00050			Metals	0.001
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Silicon	Total		mg/L	actual	water	1	3.9			Metals	N/A
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Silver	Total		mg/L	actual	water	0.00005	<0.000050			Metals	0.00005
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Sodium	Total		mg/L	actual	water	0.1	2.08			Metals	N/A
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Strontium	Total		mg/L	actual	water	0.001	0.0356			Metals	N/A
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Sulfur	Total		mg/L	actual	water	3	<3.0			Metals	N/A
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Tellurium	Total		mg/L	actual	water	0.0005	<0.00050			Metals	N/A
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Thallium	Total		mg/L	actual	water	0.00002	<0.000020			Metals	0.008
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Thorium	Total		mg/L	actual	water	0.0001	<0.00010			Metals	N/A
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Tin	Total		mg/L	actual	water	0.0002	<0.00020			Metals	N/A
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Titanium	Total		mg/L	actual	water	0.005	<0.0050			Metals	N/A
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Tungsten	Total		mg/L	actual	water	0.0002	<0.0010			Metals	N/A
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Uranium	Total		mg/L	actual	water	0.00002	0.00041			Metals	0.0085
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Vanadium	Total		mg/L	actual	water	0.005	<0.0050			Metals	N/A
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Zinc	Total		mg/L	actual	water	0.004	<0.0040			Metals	0.0075
02/10/2023 14:15:00	2023-10-12	GOA01	GOA01	49.0807	-116.051907	Zirconium	Total		mg/L	actual	water	0.0001	<0.00010			Metals	N/A
02/10/2023 15:00:00	2023-10-09	GOA02	GOA02	49.1917843	-116.3443565	Nitrate	as N		mg/L	actual	water	0.01	<0.010	The sample was prepared and/or analyzed past the recommended holding time.		Nutrients	3
02/10/2023 15:00:00	2023-10-09	GOA02	GOA02	49.1917843	-116.3443565	Nitrite	as N		mg/L	actual	water	0.01	<0.010	The sample was prepared and/or analyzed past the recommended holding time.		Nutrients	0.02
02/10/2023 15:00:00	2023-10-09	GOA02	GOA02	49.1917843	-116.3443565	Phosphate	ortho-, dissolved (as P)		mg/L	actual	water	0.01	0.0055	The sample was prepared and/or analyzed past the recommended holding time.		Nutrients	N/A
02/10/2023 15:00:00		GOA02	GOA02	49.1917843	-116.3443565	Hardness	Total (as CaCO3), from Total Ca/Mg		mg/L	calculated	water	0.5					N/A
02/10/2023 15:00:00		GOA02	GOA02	49.1917843	-116.3443565	Nitrate+Nitrite	as N		mg/L	calculated	water	0.01	<0.0100			Nutrients	N/A
02/10/2023 15:00:00		GOA02	GOA02	49.1917843	-116.3443565	Nitrogen	Total		mg/L	calculated	water	0.05	<0.0500			Nutrients	N/A
02/10/2023 15:00:00	2023-10-11	GOA02	GOA02	49.1917843	-116.3443565	Alkalinity	Total (as CaCO3)		mg/L	actual	water	1	39.5				N/A
02/10/2023 15:00:00	2023-10-11	GOA02	GOA02	49.1917843	-116.3443565	Alkalinity	Phenolphthalein (as CaCO3)		mg/L	actual	water	1	<1.0				N/A
02/10/2023 15:00:00	2023-10-11	GOA02	GOA02	49.1917843	-116.3443565	Alkalinity	Bicarbonate (as CaCO3)		mg/L	actual	water	1	39.5				N/A
02/10/2023 15:00:00	2023-10-11	GOA02	GOA02	49.1917843	-116.3443565	Alkalinity	Carbonate (as CaCO3)		mg/L	actual	water	1	<1.0				N/A
02/10/2023 15:00:00	2023-10-11	GOA02	GOA02	49.1917843	-116.3443565	Alkalinity	Hydroxide (as CaCO3)		mg/L	actual	water	1	<1.0				N/A
02/10/2023 15:00:00	2023-10-14	GOA02	GOA02	49.1917843	-116.3443565	Nitrogen	Total Kjeldahl		mg/L	actual	water	0.05	<0.050			Nutrients	N/A
02/10/2023 15:00:00	2023-10-12	GOA02	GOA02	49.1917843	-116.3443565	Phosphorus	Total		mg/L	actual	water	0.005				Nutrients	0.005
02/10/2023 15:00:00		GOA02	GOA02	49.1917843	-116.3443565	Phosphorus	Total Dissolved		mg/L	actual	water	0.005	<0.0050			Nutrients	N/A
02/10/2023 15:00:00	2023-10-11	GOA02	GOA02	49.1917843	-116.3443565	Solids	Total Suspended		mg/L	actual	water		<10.0	Reporting Limits for this sample have been raised due to limited sample volume. The sample was prepared and/or analyzed past the recommeneded holding times			N/A
01/10/2024 08:15:00	2024-10-03	GOA01	GOA01	49.0807	-116.051907	Alkalinity	Total (as CaCO3)		mg/L	actual	water	1	40.6				N/A
01/10/2024 08:15:00	2024-10-08	GOA01	GOA01	49.0807	-116.051907	Hardness	Total (as CaCO3), from Total Ca/Mg		mg/L	calculated	water	0.5	37				N/A
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Solids	Total Suspended		mg/L	actual	water	3	<3.0				N/A
01/10/2024 08:15:00	2024-10-08	GOA01	GOA01	49.0807	-116.051907	Ammonia	Total (as N)		mg/L	actual	water	0.005	0.0050			Nutrients	N/A
01/10/2024 08:15:00	2024-10-03	GOA01	GOA01	49.0807	-116.051907	Nitrate	as N		mg/L	actual	water	0.005	<0.0050			Nutrients	3
01/10/2024 08:15:00	2024-10-05	GOA01	GOA01	49.0807	-116.051907	Nitrate+Nitrite	as N		mg/L	calculated	water	0.0051	<0.0051			Nutrients	N/A
01/10/2024 08:15:00	2024-10-03	GOA01	GOA01	49.0807	-116.051907	Nitrite	as N		mg/L	actual	water	0.001	<0.0010			Nutrients	0.06
01/10/2024 08:15:00	2024-10-08	GOA01	GOA01	49.0807	-116.051907	Nitrogen	Total		mg/L	actual	water	0.03	0.033			Nutrients	N/A
01/10/2024 08:15:00	2024-10-03	GOA01	GOA01	49.0807	-116.051907	Phosphate	ortho-, dissolved (as P)		mg/L	actual	water	0.001	0.0027			Nutrients	N/A
01/10/2024 08:15:00	2024-10-08	GOA01	GOA01	49.0807	-116.051907	Phosphorus	Total		mg/L	actual	water	0.002	0.0021			Nutrients	0.015
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Phosphorus	Total Dissolved		mg/L	actual	water	0.001	0.0032			Nutrients	N/A
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Aluminum	Total		mg/L	actual	water	0.003	0.0055			Metals	N/A
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Antimony	Total		mg/L	actual	water	0.0001	<0.00010			Metals	0.009
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Arsenic	Total		mg/L	actual	water	0.0001	0.00035			Metals	0.005
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Barium	Total		mg/L	actual	water	0.0001	0.0139			Metals	1
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Beryllium	Total		mg/L	actual	water	0.00002	<0.000020			Metals	0.00013
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Bismuth	Total		mg/L	actual	water	0.00005	<0.000050			Metals	N/A
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Boron	Total		mg/L	actual	water	0.01	<0.010			Metals	1.2
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Cadmium	Total		mg/L	actual	water	0.000005	<0.0000050			Metals	N/A
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Calcium	Total		mg/L	actual	water	0.05	9.3			Metals	N/A
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Cesium	Total		mg/L	actual	water	0.00001	<0.000010			Metals	N/A
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Chromium	Total		mg/L	actual	water	0.0005	<0.00050			Metals	N/A
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Cobalt	Total		mg/L	actual	water	0.0001	<0.00010			Metals	0.004
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Copper	Total		mg/L	actual	water	0.0005	<0.00050			Metals	0.002
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Iron	Total		mg/L	actual	water	0.01	0.031			Metals	1
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Lead	Total		mg/L	actual	water	0.00005	<0.000050			Metals	0.003
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Lithium	Total		mg/L	actual	water	0.001	<0.0010			Metals	N/A
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Magnesium	Total		mg/L	actual	water	0.005	3.34			Metals	N/A
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Manganese	Total		mg/L	actual	water	0.0001	0.00103			Metals	0.61
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Molybdenum	Total		mg/L	actual	water	0.00005	0.000415			Metals	1
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Nickel	Total		mg/L	actual	water	0.0005	<0.00050			Metals	0.025
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Phosphorus	Total		mg/L	actual	water	0.05	<0.050			Metals	N/A
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Potassium	Total		mg/L	actual	water	0.05	0.499			Metals	N/A
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Rubidium	Total		mg/L	actual	water	0.0002	0.00068			Metals	N/A
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Selenium	Total		mg/L	actual	water	0.00005	<0.000050			Metals	0.001
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Silicon	Total		mg/L	actual	water	0.1	4.11			Metals	N/A
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Silver	Total		mg/L	actual	water	0.00001	<0.000010			Metals	0.00005
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Sodium	Total		mg/L	actual	water	0.05	2.24			Metals	N/A
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Strontium	Total		mg/L	actual	water	0.0002	0.039			Metals	N/A
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Sulfur	Total		mg/L	actual	water	0.5	1.18			Metals	N/A
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Tellurium	Total		mg/L	actual	water	0.0002	<0.00020			Metals	N/A
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Thallium	Total		mg/L	actual	water	0.00001	<0.000010			Metals	0.008
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Thorium	Total		mg/L	actual	water	0.0001	<0.00010			Metals	N/A
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Tin	Total		mg/L	actual	water	0.0001	<0.00010			Metals	N/A
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Titanium	Total		mg/L	actual	water	0.0003	<0.00030			Metals	N/A
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Tungsten	Total		mg/L	actual	water	0.0001	<0.00010			Metals	N/A
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Uranium	Total		mg/L	actual	water	0.00001	0.00036			Metals	0.0085
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Vanadium	Total		mg/L	actual	water	0.0005	<0.00050			Metals	N/A
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Zinc	Total		mg/L	actual	water	0.003	<0.0030			Metals	0.0075
01/10/2024 08:15:00	2024-10-06	GOA01	GOA01	49.0807	-116.051907	Zirconium	Total		mg/L	actual	water	0.0002	<0.00020			Metals	N/A
01/10/2024 07:35:00	2024-10-03	GOA02	GOA02	49.1917843	-116.3443565	Alkalinity	Total (as CaCO3)		mg/L	actual	water	1	34.2				N/A
01/10/2024 07:35:00	2024-10-08	GOA02	GOA02	49.1917843	-116.3443565	Hardness	Total (as CaCO3), from Total Ca/Mg		mg/L	calculated	water	0.5	34.7				N/A
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Solids	Total Suspended		mg/L	actual	water	3	<3.0				N/A
01/10/2024 07:35:00	2024-10-08	GOA02	GOA02	49.1917843	-116.3443565	Ammonia	Total (as N)		mg/L	actual	water	0.005	<0.0050			Nutrients	N/A
01/10/2024 07:35:00	2024-10-03	GOA02	GOA02	49.1917843	-116.3443565	Nitrate	as N		mg/L	actual	water	0.005	<0.0050			Nutrients	3
01/10/2024 07:35:00	2024-10-05	GOA02	GOA02	49.1917843	-116.3443565	Nitrate+Nitrite	as N		mg/L	calculated	water	0.0051	<0.0051			Nutrients	N/A
01/10/2024 07:35:00	2024-10-03	GOA02	GOA02	49.1917843	-116.3443565	Nitrite	as N		mg/L	actual	water	0.001	<0.0010			Nutrients	0.06
01/10/2024 07:35:00	2024-10-08	GOA02	GOA02	49.1917843	-116.3443565	Nitrogen	Total		mg/L	actual	water	0.03	0.031			Nutrients	N/A
01/10/2024 07:35:00	2024-10-03	GOA02	GOA02	49.1917843	-116.3443565	Phosphate	ortho-, dissolved (as P)		mg/L	actual	water	0.001	<0.0010			Nutrients	N/A
01/10/2024 07:35:00	2024-10-08	GOA02	GOA02	49.1917843	-116.3443565	Phosphorus	Total		mg/L	actual	water	0.002	<0.0020			Nutrients	0.015
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Aluminum	Total		mg/L	actual	water	0.003	0.0042			Metals	N/A
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Antimony	Total		mg/L	actual	water	0.0001	<0.00010			Metals	0.009
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Arsenic	Total		mg/L	actual	water	0.0001	0.00018			Metals	0.005
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Barium	Total		mg/L	actual	water	0.0001	0.014			Metals	1
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Beryllium	Total		mg/L	actual	water	0.00002	<0.000020			Metals	0.00013
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Bismuth	Total		mg/L	actual	water	0.00005	<0.000050			Metals	N/A
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Boron	Total		mg/L	actual	water	0.01	<0.010			Metals	1.2
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Cadmium	Total		mg/L	actual	water	0.000005	<0.0000050			Metals	N/A
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Calcium	Total		mg/L	actual	water	0.05	8.49			Metals	N/A
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Cesium	Total		mg/L	actual	water	0.00001	0.000019			Metals	N/A
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Chromium	Total		mg/L	actual	water	0.0005	<0.00050			Metals	N/A
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Cobalt	Total		mg/L	actual	water	0.0001	<0.00010			Metals	0.004
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Copper	Total		mg/L	actual	water	0.0005	<0.00050			Metals	0.002
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Iron	Total		mg/L	actual	water	0.01	<0.010			Metals	1
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Lead	Total		mg/L	actual	water	0.00005	<0.000050			Metals	0.003
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Lithium	Total		mg/L	actual	water	0.001	<0.0010			Metals	N/A
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Magnesium	Total		mg/L	actual	water	0.005	3.28			Metals	N/A
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Manganese	Total		mg/L	actual	water	0.0001	0.0004			Metals	0.61
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Molybdenum	Total		mg/L	actual	water	0.00005	0.000528			Metals	1
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Nickel	Total		mg/L	actual	water	0.0005	<0.00050			Metals	0.025
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Phosphorus	Total		mg/L	actual	water	0.05	<0.050			Metals	N/A
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Potassium	Total		mg/L	actual	water	0.05	0.38			Metals	N/A
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Rubidium	Total		mg/L	actual	water	0.0002	0.00062			Metals	N/A
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Selenium	Total		mg/L	actual	water	0.00005	<0.000050			Metals	0.001
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Silicon	Total		mg/L	actual	water	0.1	3.96			Metals	N/A
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Silver	Total		mg/L	actual	water	0.00001	<0.000010			Metals	0.00005
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Sodium	Total		mg/L	actual	water	0.05	1.49			Metals	N/A
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Strontium	Total		mg/L	actual	water	0.0002	0.0357			Metals	N/A
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Sulfur	Total		mg/L	actual	water	0.5	0.94			Metals	N/A
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Tellurium	Total		mg/L	actual	water	0.0002	<0.00020			Metals	N/A
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Thallium	Total		mg/L	actual	water	0.00001	<0.000010			Metals	0.008
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Thorium	Total		mg/L	actual	water	0.0001	<0.00010			Metals	N/A
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Tin	Total		mg/L	actual	water	0.0001	<0.00010			Metals	N/A
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Titanium	Total		mg/L	actual	water	0.0003	<0.00030			Metals	N/A
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Tungsten	Total		mg/L	actual	water	0.0001	<0.00010			Metals	N/A
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Uranium	Total		mg/L	actual	water	0.00001	0.000326			Metals	0.0085
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Vanadium	Total		mg/L	actual	water	0.0005	<0.00050			Metals	N/A
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Zinc	Total		mg/L	actual	water	0.003	<0.0030			Metals	0.0075
01/10/2024 07:35:00	2024-10-06	GOA02	GOA02	49.1917843	-116.3443565	Zirconium	Total		mg/L	actual	water	0.0002	<0.00020			Metals	N/A
01/10/2024 08:15:00	2024-10-03	G0A01 A	GOA01	49.0807	-116.051907	Alkalinity	Total (as CaCO3)		mg/L	actual	water	1	41.1	field duplicate			N/A

## 2. Metadata
Site ID	GOA01	GOA02
Location/Site Name	GOA01	GOA02
Waterbody Type	Streams	Streams
Waterbody	Goat River	Goat River
Site Latitude (decimal degrees)	49.0807	49.1917843
Site Longitude (decimal degrees)	-116.051907	-116.3443565
Coordinate System	WGS84	WGS84
Site Elevation (masl)	545
Measurement Interval	Once a year	Once a year
Site Notes	about 300m upstream of hwy 21 bridge	Grassy area that rvs/campers use in the summer.
Site Photos in Dataset	No	No
Photo Resource Name

Sample ID	GOA01	G0A01 A	GOA02	GOA02 A	GOA01	GOA02	GOA01	GOA02	GOA01A					2
Site ID	GOA01	GOA01	GOA02	GOA02	GOA01	GOA02	GOA01	GOA02	GOA01
Lab Name	Caro Analytical Services	Caro Analytical Services	Caro Analytical Services	Caro Analytical Services	Caro Analytical Services	Caro Analytical Services	ALS	ALS	ALS
Date and Time of Sampling	2022-09-05 11:30:00	2022-09-05 11:30:00	2022-09-05 14:30:00	2022-09-05 14:30:00	2023-10-02 14:15:00	2023-10-02 15:00:00	2024-10-01 08:15:00	2024-10-01 07:35:00	2024-10-01 08:15:00
Time Zone	UTC-7	UTC-7	UTC-7	UTC-7	UTC-7	UTC-7	UTC-7	UTC-7	UTC-7
Sampling Details	Sample was collected using a bottle provided by the lab	Sample was collected using a bottle provided by the lab	Sample was collected using a bottle provided by the lab	Sample was collected using a bottle provided by the lab	Sample was collected using a bottle provided by the lab	Sample was collected using a bottle provided by the lab
Notes		field blank		Duplicate		broken bottle no metals		preservative leaked for dissolved nutrienets so no total dissolved Phosphorus	duplicate

## 2.b Definitions
1. Lab Results Definitions
Field	Definiton	Format	Example
date_time_sampled	When was this sample collected?	YYYY-MM-DD hh:mm:ss	2021-01-20 10:30:00
date_analysed	When was the sample analysed?	(YYYY-MM-DD)	2021-02-17
SiteID	Where was this sample collected?	Text	Slocan_01
SampleID	What is the identification given by the lab to the sample?	Text	AT-2937
Analyte	The chemical parameter being measured	Text	Nitrate
Analyte Specification	In what form is the analyte being analyzed	Text	As N
Method	The method carried out for analyzing for the analyte in question, if provided	Text	E235.NO3-L
Unit of Measurement	The unit that the analyte in question is being measured in	Text	mg/L
Detection Limit	The lowest result that the method is able to analyze	Number	0.0050
Value Type	This specifies whether a result is actual, blank corrected, calculated, control adjusted, or estimated	Text	calculated
Matrix	The medium used to analyze the sample	Text	Water
Values	Here is where you can paste the actual values/results from the analysis	Number	0.01

2. Lab and Sample Metadata Definitions
Field	Definition	Format	Example
Site ID	Unique name/code used to identify the monitoring site (assigned by monitoring organization).	Text	SAH_01
Waterbody Type	The type of waterbody the measurements were taken from	Text	Stream
Waterbody	Name of the waterbody where monitoring took place.	Text	Slocan Lake
Location/Site Name	Geographically descriptive name of the monitoring site.	Text	Slocan River at Passmore Bridge
Location Latitude	Latitude. Decimal degrees.	Decimal degrees	51.048614
Location Longitude	Longitude. Decimal degrees.	Decimal degrees	-114.070821
Location Coordinate System	The datum that your latitude and longitude coordinates are based upon.	Pick From List	WGS84
Elevation	The elevation of your monitoring location (metres above sea level)	Number	800
Measurement Interval	The timescale that measurements are being taken, ex. hourly, every 8 hours, weekly, monthly	Text	Hourly
Site Photos in Dataset	Whether site photos will be included as a separate zipfile as part of the dataset this resource contains	Text	Yes
Photo Resource Name	Name of the Resource that will contain photos relevant to this resource/site	Text	Monitoring Station Photos from Some Creek
Sample ID	Assigned by lab	Text	ABC010203
Lab Name	The name of the lab performing the analysis	Text	Chemical Laboratory
Date and Time of Sampling	The date and time that the sample was collected	YYYY-MM-DD hh:mm:ss	2022-02-01 10:30:00
Time Zone	The time zone of the location where the sample was collected	Pick from List	MST
Date of Analysis	The date that the laboratory perfomred the analysis - this will be indicated in the report	YYYY-MM-DD	2022-02-03
Sampling Details	The equipment/method used to collect the sample	Text	Sample was collected using a bottle provided by the lab
Notes	Any other notes about this sample	Text	Sample was shipped to lab and received within 12 hours of collection.

Analytes	Analyte Speciations	Units	Time Zones
Acidity	as N	µg/g	GMT
Actual conductance	as P	µg/L	GMT-6
Actual conductivity	as SO4	µS/cm	GMT-7
Alkalinity	at pH	CFU/mL	GMT-8
Aluminum	Bicarbonate (as CaCO3)	CU	MDT
Ammonia	Carbonate (as CaCO3)	Degrees Celsius	MST
Antimony	CO3	g/kg	MT
Arsenic	Dissolved	mg/kg	PDT
Barium	E. coli	mg/L	PST
Beryllium	EC	mmol/L	PT
Bicarbonate	HCO3	mol/L	UTC
Bismuth	Hydroxide (as CaCO3)	N/A	UTC-6
Boron	N/A	NTU	UTC-7
Bromide	OH	pH units	UTC-8
Cadmium	Ortho-	ppm
Calcium	ortho-, dissolved (as P)	umho/cm
Carbon	Phenolphthalein (as CaCO3)	Unknown
Carbonate	Total
Chloride	Total (as CaCO3)
Chromium	Total (as CaCO3), from Total Ca/Mg
Cobalt	Total (as N)
Colour	Total Dissolved
Conductivity	Total Kjeldahl
Copper	Total Organic
Cyanide	Total Suspended
Fluoride	TRUE
Hardness	Unknown
Hydroxide
Iron
Langelier Index
Lead
Lithium
Magnesium
Manganese
Mercury
Molybdenum
Nickel
Nitrate
Nitrate+Nitrite
Nitrite
Nitrogen
Oxygen
pH
Phosphate
Phosphorus
Potassium
Selenium
Silicon
Silver
Sodium
Solids
specific conductance
specific conductivity
Strontium
Sulfate
Sulfur
Tellurium
Temperature
Thallium
Thorium
Tin
Titanium
Tungsten
Turbidity
Uranium
Vanadium
Zinc
Zirconium

Methods
The analytical methods used by ALS are developed using internationally recognized reference methods (where available), such as those published by US EPA, APHA Standard Methods, ASTM, ISO, Environment Canada, BC MOE, and Ontario MOE. Reference methods may incorporate modifications to improve performance
Method	Test Description	Matrix	Method Reference	Methodology Description
E235.Br-L	Bromide in Water by IC (Low Level)	Water	EPA 300.1 (mod)	Inorganic anions are analyzed by Ion Chromatography with conductivity and/or UV detection.
E235.Cl	Chloride in Water by IC	Water	EPA 300.1 (mod)	Inorganic anions are analyzed by Ion Chromatography with conductivity and/or UV detection.
E235.F	Fluoride in Water by IC	Water	EPA 300.1 (mod)	Inorganic anions are analyzed by Ion Chromatography with conductivity and/or UV detection.
E235.NO2-L	Nitrite in Water by IC (Low Level)	Water	EPA 300.1 (mod)	Inorganic anions are analyzed by Ion Chromatography with conductivity and/or UV detection.
E235.NO3-L	Nitrate in Water by IC (Low Level)	Water	EPA 300.1 (mod)	Inorganic anions are analyzed by Ion Chromatography with conductivity and/or UV detection.
E235.SO4	Sulfate in Water by IC	Water	EPA 300.1 (mod)	Inorganic anions are analyzed by Ion Chromatography with conductivity and/or UV detection.
E378-U	Dissolved Orthophosphate by Colourimetry (Ultra Trace Level)	Water	APHA 4500-P E (mod)	Dissolved Orthophosphate is determined colourimetrically on a water sample that has been lab or field filtered through a 0.45 micron membrane filter. Field filtration is recommended to ensure test results represent conditions at time of sampling.
E160-H	TSS by Gravimetry	Water	APHA 2540 D (mod)	Total Suspended Solids (TSS) are determined by filtering a sample through a glass fibre filter, following by drying of the filter at 104 ± 1°C, with gravimetric measurement of the filtered solids. Samples containing very high dissolved solid content (i.e. seawaters, brackish waters) may produce a positive bias by this method. Alternate analysis methods are available for these types of samples.
EC100A	Hardness (Calculated) from Total Ca/Mg	Water	APHA 2340B	“Hardness (as CaCO3), from total Ca/Mg” is calculated from the sum of total Calcium and Magnesium concentrations, expressed in CaCO3 equivalents. “Total Hardness” refers to the sum of Calcium and Magnesium Hardness. Hardness is normally or preferentially calculated from dissolved Calcium and Magnesium concentrations, because it is a property of water due to dissolved divalent cations. Hardness from total Ca/Mg is normally comparable to Dissolved Hardness in non-turbid waters.
E420.Cr-L	Total Chromium in Water by CRC ICPMS (Low Level)	Water	EPA 200.2/6020B (mod)	Water samples are digested with nitric and hydrochloric acids, and analyzed by Collision/Reaction Cell ICPMS.
E420	Total Metals in Water by CRC ICPMS	Water	EPA 200.2/6020B (mod)	Water samples are digested with nitric and hydrochloric acids, and analyzed by Collision/Reaction Cell ICPMS. Method Limitation (re: Sulfur): Sulfide and volatile sulfur species may not be recovered by this method.
E508	Total Mercury in Water by CVAAS	Water	EPA 1631E (mod)	Water samples undergo a cold-oxidation using bromine monochloride prior to reduction with stannous chloride, and analyzed by CVAAS
Standard Reference Material	A material of similar matrix to the samples, externally certified for the parameter(s) listed.
Blank Spike	Also known as laboratory control samples (LCS), are prepared from a different source of standard than used for the calibration.
Method Blank	Reagent grade water that is treated like a sample in the lab.
Sample analysed in lab
In situ
Not specified

Water Quality Guidelines
Some labs may include water quality guidelines for reference. If you would like to include these in your results, additional columns can be added to Tab 1. Lab Results.
BCWQ1	BC Water Quality Guidelines - Freshwater Aquatic Life
CSR2AL	BC CSR Schedule 3.2 Aquatic Life
CSR2DW	BC CSR Schedule 3.2 Drinking Water
BCDW	BC Source Drinking Water Quality Guidelines (2017)

## 3. Changelog
Date of Modification	Description of Modification	Name of Person Modifying
2023-11-28	Creation of file	Melissa Flint
2024-12-10	Upload data and change metadata for 2024 samples	Melissa Flint