## 1. Observations
date_time | site_id | latitude | longitude | notes | pH | pH_units | water_temperature | water_temperature_units | air_temperature | air_temperature_units | turbidity | turbidity_units | conductivity | conductivity_units | alkalinity | alkalinity_units | hardness | hardness_units | dissolved_oxygen | dissolved_oxygen_units | water_hub_qa_qc
2020-10-29 14:15 | Goat River (10th Ave S) | 49.0783 | -116.5144 |  | 6.6 | pH units | 5.5 | degrees Celsius | 12 | degrees Celsius |  |  | 77 | microSiemens per centimetre | 60 | milligrams per litre | 0 | milligrams per litre | 11 | milligrams per litre | n/a
2020-11-21 14:10 | Goat River (10th Ave S) | 49.0783 | -116.5144 |  | 6.8 | pH units | 4 | degrees Celsius | 11 | degrees Celsius |  |  | 68 | microSiemens per centimetre | 60 | milligrams per litre | 0 | milligrams per litre | 11 | milligrams per litre | n/a
2021-08-01 16:04 | Goat River (10th Ave S) | 49.0783 | -116.5144 |  | 7.8 | pH units | 20.8 | degrees Celsius | 28 | degrees Celsius |  |  | 80 | microSiemens per centimetre | 40 | milligrams per litre | 0 | milligrams per litre | 9 | milligrams per litre | n/a
2021-08-28 13:15 | Goat River (10th Ave S) | 49.0783 | -116.5144 |  | 7.5 | pH units | 17 | degrees Celsius | 25 | degrees Celsius |  |  | 80 | microSiemens per centimetre | 40 | milligrams per litre | 0 | milligrams per litre | 9 | milligrams per litre | n/a
2021-09-27 09:35 | Goat River (10th Ave S) | 49.0783 | -116.5144 |  | 7 | pH units | 13.2 | degrees Celsius | 19 | degrees Celsius |  |  | 87 | microSiemens per centimetre | 60 | milligrams per litre | 0 | milligrams per litre | 9 | milligrams per litre | n/a
2021-10-31 13:04 | Goat River (10th Ave S) | 49.0783 | -116.5144 |  | 6.8 | pH units | 5.4 | degrees Celsius | 12 | degrees Celsius |  |  | 55 | microSiemens per centimetre | 40 | milligrams per litre | 0 | milligrams per litre | 12 | milligrams per litre | n/a
2022-05-01 13:00 | Goat River (10th Ave S) | 49.0783 | -116.5144 |  | 7.2 | pH units | 8.5 | degrees Celsius | 22 | degrees Celsius | 0.26 | NTU | 42 | microSiemens per centimetre | 40 | milligrams per litre | 0 | milligrams per litre | 12 | milligrams per litre | n/a
2022-06-25 13:30 | Goat River (10th Ave S) | 49.0783 | -116.5144 |  | 6.8 | pH units | 11.4 | degrees Celsius | 25 | degrees Celsius | 2.62 | NTU | 25 | microSiemens per centimetre | 40 | milligrams per litre | 0 | milligrams per litre | 11 | milligrams per litre | n/a
2022-07-30 13:00 | Goat River (10th Ave S) | 49.0783 | -116.5144 |  | 7.3 | pH units | 20.3 | degrees Celsius | 32 | degrees Celsius | 0.22 | NTU | 55 | microSiemens per centimetre | 40 | milligrams per litre | 0 | milligrams per litre | 8 | milligrams per litre | n/a
2022-08-29 09:15 | Goat River (10th Ave S) | 49.0783 | -116.5144 |  | 7 | pH units | 14.1 | degrees Celsius | 19 | degrees Celsius | 0.05 | NTU | 66 | microSiemens per centimetre | 60 | milligrams per litre | 0 | milligrams per litre | 11 | milligrams per litre | n/a
2022-09-27 09:05 | Goat River (10th Ave S) | 49.0783 | -116.5144 |  | 7 | pH units | 11.7 | degrees Celsius | 15 | degrees Celsius | 0.16 | NTU | 74 | microSiemens per centimetre | 60 | milligrams per litre | 0 | milligrams per litre | 9 | milligrams per litre | n/a
2022-10-29 13:00 | Goat River (10th Ave S) | 49.0783 | -116.5144 |  | 6.6 | pH units | 8.2 | degrees Celsius | 15 | degrees Celsius | 0.34 | NTU | 74 | microSiemens per centimetre | 40 | milligrams per litre | 0 | milligrams per litre | 11 | milligrams per litre | n/a
2023-06-26 09:05 | Goat River (10th Ave S) | 49.0783 | -116.5144 |  | 6.6 | pH units | 12.3 | degrees Celsius | 19.5 | degrees Celsius | 0.18 | NTU | 45 | microSiemens per centimetre | 60 | milligrams per litre | 0 | milligrams per litre | 11 | milligrams per litre
2023-07-29 13:00 | Goat River (10th Ave S) | 49.0783 | -116.5144 |  | 7.2 | pH units | 20 | degrees Celsius | 28 | degrees Celsius | 0.31 | NTU | 66 | microSiemens per centimetre | 60 | milligrams per litre | 0 | milligrams per litre | 9 | milligrams per litre
2023-08-29 13:00 | Goat River (10th Ave S) | 49.0783 | -116.5144 |  | 7 | pH units | 19.2 | degrees Celsius | 28.5 | degrees Celsius | 0.16 | NTU | 72 | microSiemens per centimetre | 80 | milligrams per litre | 0 | milligrams per litre | 9 | milligrams per litre
2023-09-29 14:30 | Goat River (10th Ave S) | 49.0783 | -116.5144 |  | 7 | pH units | 13.4 | degrees Celsius | 19 | degrees Celsius | 0.24 | NTU | 69 | microSiemens per centimetre | 60 | milligrams per litre | 0 | milligrams per litre | 11 | milligrams per litre
2023-10-25 12:00 | Goat River (10th Ave S) | 49.0783 | -116.5144 |  | 6.8 | pH units | 5.5 | degrees Celsius | 8 | degrees Celsius | 0.74 | NTU | 72 | microSiemens per centimetre | 60 | milligrams per litre | 0 | milligrams per litre | 10 | milligrams per litre
2024-05-24 09:00 | Goat River (10th Ave S) | 49.0783 | -116.5144 |  | 6.6 | pH units | 7.6 | degrees Celsius | 15 | degrees Celsius | 2.25 | NTU | 34 | microSiemens per centimetre | 60 | milligrams per litre | 0 | milligrams per litre | 11 | milligrams per litre
2024-06-22 09:05 | Goat River (10th Ave S) | 49.0783 | -116.5144 | hardness values are outside normal trends. Testing strips not working? | 6.4 | pH units | 10.6 | degrees Celsius | 21 | degrees Celsius | 1.02 | NTU | 33 | microSiemens per centimetre | 40 | milligrams per litre | 100 | milligrams per litre | 12 | milligrams per litre
2024-07-31 13:00 | Goat River (10th Ave S) | 49.0783 | -116.5144 | hardness values are outside normal trends. Testing strips not working? | 7 | pH units | 19.4 | degrees Celsius | 31 | degrees Celsius | 0.79 | NTU | 61 | microSiemens per centimetre | 100 | milligrams per litre | 100 | milligrams per litre | 9 | milligrams per litre
2024-08-30 13:05 | Goat River (10th Ave S) | 49.0783 | -116.5144 | hardness values are outside normal trends. Testing strips not working? | 6.8 | pH units | 16.7 | degrees Celsius | 25 | degrees Celsius | 0.36 | NTU | 67 | microSiemens per centimetre | 60 | milligrams per litre | 200 | milligrams per litre | 10 | milligrams per litre
2024-09-26 13:00 | Goat River (10th Ave S) | 49.0783 | -116.5144 | hardness values are outside normal trends. Testing strips not working? | 7 | pH units | 16.4 | degrees Celsius | 22 | degrees Celsius | 1.28 | NTU | 73 | microSiemens per centimetre | 80 | milligrams per litre | 150 | milligrams per litre | 11 | milligrams per litre
2024-10-25 13:10 | Goat River (10th Ave S) | 49.0783 | -116.5144 | new testing strips | 7.2 | pH units | 6.7 | degrees Celsius | 14 | degrees Celsius | 0.37 | NTU | 60 | microSiemens per centimetre | 40 | milligrams per litre | 0 | milligrams per litre | 11 | milligrams per litre

## 2. Metadata
Site ID | Goat River (10th Ave S)
Location/Site Name | Goat River (10th Ave S)
Waterbody Type | Streams
Waterbody | Goat River
Site Latitude (decimal degrees) | 49.0783
Site Longitude (decimal degrees) | -116.5144
Coordinate System | WGS84
Site Elevation (masl) | 545
Measurement Interval | Monthly
Site Notes | N/A
Site Photos in Dataset | Yes
Photo Resource Name | WildsightCreston_WaterQuality_Photos_GoatRiver_3.5km_2020
Parameter 1 | pH
Unit of Measurement | pH units
Instrument Type | Test Strips
Instrument Manufacturer | Taylor Spa Test Strips
Instrument Model | N/A
Serial Number | N/A
Range | 6.4-8.4
Accuracy | N/A
Resolution | N/A
Calibration Notes | N/A
Time Zone | MST
Notes on Methods | N/A
Parameter 2 | water_temperature
Unit of Measurement | degrees Celsius
Instrument Type | Analog Thermometer
Instrument Manufacturer | Not specified
Instrument Model | Not specified
Serial Number | Not specified
Range | ±0 to 50 C
Accuracy | 0.5 degrees C
Resolution
Calibration Notes | N/A
Time Zone | MST
Notes on Methods | N/A
Parameter 3 | air_temperature
Unit of Measurement | degrees Celsius
Instrument Type | Analog Thermometer
Instrument Manufacturer | Not specified
Instrument Model | Not specified
Serial Number | Not specified
Range | ±0 to 50 C
Accuracy | 0.5 degrees C
Resolution | N/A
Calibration Notes | N/a
Time Zone | MST
Notes on Methods | N/A
Parameter 4 | turbidity
Unit of Measurement | NTU
Instrument Type | Portable Meter
Instrument Manufacturer | LaMotte
Instrument Model | 2020i
Serial Number | 1531-1721
Range | 0-100 NTU
Accuracy | ± 0.05 NTU
Resolution | N/A
Calibration Notes | Every sampling day
Time Zone | MST
Notes on Methods | N/a
Parameter 5 | conductivity
Unit of Measurement | microSiemens per centimetre
Instrument Type | Portable Meter
Instrument Manufacturer | Not specified
Instrument Model | Not specified
Serial Number | Not specified
Range | 0 to 1999 us/cm
Accuracy | ±1% Full Scale ±1 digit
Resolution | N/A
Calibration Notes | Calibrated twice a sampling season
Time Zone | MST
Notes on Methods | N/A
Parameter 6 | alkalinity
Unit of Measurement | milligrams per litre
Instrument Type | Test Strips
Instrument Manufacturer | Taylor Spa Test Strips
Instrument Model | N/A
Serial Number | N/A
Range | 0-140 ppm
Accuracy | N/A
Resolution | N/A
Calibration Notes | N/A
Time Zone | MST
Notes on Methods | N/A
Parameter 7 | hardness
Unit of Measurement | milligrams per litre
Instrument Type | Test Strips
Instrument Manufacturer | Taylor Spa Test Strips
Instrument Model | N/A
Serial Number | N/A
Range | 0-800 ppm
Accuracy | N/A
Resolution | N/A
Calibration Notes | N/A
Time Zone | MST
Notes on Methods | N/A
Parameter 8 | dissolved_oxygen
Unit of Measurement | milligrams per litre
Instrument Type | Water Test Kit
Instrument Manufacturer | CHEMets
Instrument Model | CHEMets Colorimetric Analysis kit
Serial Number | N/A
Range | 1-12 mg/L
Accuracy | N/A
Resolution | N/A
Calibration Notes | N/A
Time Zone | MST
Notes on Methods | Colourimetric Test

## 2.b Metadata Definitions
Metadata Definitions
| Definition | Format | Example
Site ID | Unique name/code used to identify the monitoring site (assigned by monitoring organization). | Text | SAH_01
Waterbody Type | The type of waterbody the measurements were taken from | Text | Stream
Waterbody | Name of the waterbody where monitoring took place. | Text | Slocan Lake
Location/Site Name | Geographically descriptive name of the monitoring site. | Text | Slocan River at Passmore Bridge
Location Latitude | Latitude. Decimal degrees. | Decimal degrees | 51.0486
Location Longitude | Longitude. Decimal degrees. | Decimal degrees | -114.0708
Location Coordinate System | The datum that your latitude and longitude coordinates are based upon. | Pick From List | WGS84
Elevation | The elevation of your monitoring location (metres above sea level) | Number | 800
Measurement Interval | The timescale that measurements are being taken, ex. hourly, every 8 hours, weekly, monthly | Text | Hourly
Site Photos in Dataset | Whether site photos will be included as a separate zipfile as part of the dataset this resource contains | Text | Yes
Photo Resource Name | Name of the Resource that will contain photos relevant to this resource/site | Text | Monitoring Station Photos from Some Creek
Parameter | Type of measurement being taken. Must be expressed without spaces or symbols, lower case, use underscores as needed. | Pick From List | Temperature
Unit of Measurement | Unit of measurement for the parameter referred to above. Do not include symbols. | Pick From List | Degrees Celsius
Instrument Type | The general category of instrument being used | Pick From List | Data Logger
Instrument Manufacturer | Manufacturer of instrument used to measure this parameter | Text | YSI
Instrument Model | Model of instrument used to measure this parameter | Text | 6050020 Pro20
Serial Number | Serial number of the instrument used to measure this parameter, if applicable | Text | 20413527
Accuracy | Accuracy of the instrument used to measure this parameter (can be found on manufacturer website), this must be entered in plain text without symbols | Text | Plus or minus 2 degrees C
Range | Range of the instrument used to measure this parameter (can be found on manufacturer website) | Text | -5 to 70 degrees C (23 to 158 degrees F)
Resolution | Resolution of the instrument used to measure this parameter (can be found on manufacturer website) | Text | 0.1 degrees C
Calibration Notes: | If applicable: How is this instrument calibrated? How frequently is this performed? | Text | Calibrated monthly using a standard solution, a calibration log is available on request
Time Zone | The time zone used to record time of measurements, either local time at site, or the time zone that your instrument uses | Pick From List | PST
Notes on Methods: | Details regarding methods used to measure this parameter | Text | Temperature measurements were taken 30cm from water's edge at a depth of 10cm
Measurement Intervals | Parameter Selection Choices | Unit Choices | Instrument Types | Time Zones | Coordinate Systems
Fifteen Minutes | air_temperature | atm | Analog Thermometer | GMT | WGS84
Thirty Minutes | alkalinity | centimetres | Bench Meter | GMT-6 | NAD27
Hourly | atmospheric_pressure | CFU per 100 mL | Climate Station | GMT-7 | NAD83
Four Hours | average_air_temperature | degrees Celsius | Data Logger | GMT-8 | AMSMA
Six Hours | average_water_temperature | degrees Fahrenheit | Hach Kit | MDT | ASTRO
Eight Hours | battery_charge | kilometres per hour | pH meter | MST | GUAM
Twelve Hours | calcium_total | hectopascal | Observation | MT | HARN
Daily | chlorine | metres | Portable Photometer | PDT | JHNSN
Weekly | clarity | metres above sea level | Portable Meter | PST | NAD27
Biweekly | cloud_cover | metres below ground surface | Portable Multiparameter Meter | PT | NAD83
Monthly | conductivity | metres per second | Rain Gauge | UTC | OLDHI
Single Point Measurement | depth | metres3 per second | Secchi Disk | UTC-6 | OTHER
As Needed | discharge | milligrams per litre | Staff Gauge | UTC-7 | PR
Varied | dissolved_oxygen | millimetres | Test Strips | UTC-8 | SGEOR
| e-coli | micromhos per centimetre | Unknown | N/A | SLAWR
| fecal_coliforms | microSiemens per centimetre | Water Test Kit | Unknown | SPAUL
| flow | mmHg | N/A |  | UNKWN
| hardness | most probable number per 100 mL |  |  | WAKE
| maximum_air_temperature | NTU |  |  | WGS72
| maxiumum_water_temperature | N/A |  |  | WGS84
| minimum_air_temperature | observation |  |  | NAD83 / BC Albers
| minimum_water_temperature | Pa |  |  | NAD83/ UTM Zone 11
| odour | parts per million |  |  | NAD83/ UTM Zone 12
| pH | percent |  |  | Not specified
| precipitation | pH units
| snow_density | µg per litre
| snow_depth | unknown
| snow_water_equivalent | volts
specific_conductivity
surface_conditions
suspended_sediment
temperature_at_analyis
total_coliforms
total_dissolved_solids
total_suspended_solids
trophic_status
turbidity
velocity
water_clarity_secchi
water_colour
water_hardness
water_level
water_temperature
water_temperature_historic
weather_and_notes

## 3. Changelog
Date of Modification | Description of Modification | Name of Person Modifying
2021-07-20 | Update metadata | PT
2022-02-04 | Update date from 2021 | Melissa Flint
2022-04-06 | Upload to new template, QA/QC | VS
2023-07-10 | Update data from 2022 | Melissa Flint
2023-12-27 | Update data from 2023 | Melissa Flint
2024-12-11 | Update data from 2024 | Melissa Flint